## Inverter 1
SITE: | Kroonstad PnP |  |  | DATE: | 22/09/2025 |  |  | INVERTER 1
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | 884.69 | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Inverter 1 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
(1-7%) | 822.7617 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No. | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
(1+7%) | 946.6183 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V) | 826 | 825 | 823 | 824 | 829 | 823 | 823 | 823 | 829 | 829 | 829 | 828
[21 empty] | Short Circuit Voltage (Vsc in V) | 675.88 | 674.88 | 672.88 | 673.88 | 678.88 | 672.88 | 672.88 | 672.88 | 678.88 | 678.88 | 678.88 | 677.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Insulation Resistance (mΩ) | 323.3 | 337.7 | 315 | 327 | 377 | 388 | 383 | 408 | 374 | 365 | 376 | 356
| Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W) | 647 | 603 | 646 | 642 | 630 | 642 | 628 | 637 | 634 | 648 | 651 | 598
| S13: N/A; S14: N/A; S15: N/A; S16: N/A; S17: N/A; S18: N/A; S19: N/A; S20: N/A | Isc (A) | 10.37 | 11.01 | 10.41 | 10.49 | 10.52 | 10.41 | 10.46 | 10.5 | 10.48 | 10.53 | 10.45 | 10.45
[21 empty] | Cell Temp | 24 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | 11.3588 | 10.6962 | 11.3877 | 11.3234 | 11.1304 | 11.3234 | 11.0982 | 11.243 | 11.1947 | 11.4198 | 11.4681 | 10.6158 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Vo | 49.08 | V | Jinko 620 BDV
(1-10%) | 10.2229 | 9.6266 | 10.2489 | 10.191 | 10.0174 | 10.191 | 9.9884 | 10.1187 | 10.0752 | 10.2779 | 10.3213 | 9.5543 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.25 | %/Degree C | Temperature coefficient
(1+10%) | 12.4946 | 11.7659 | 12.5264 | 12.4557 | 12.2434 | 12.4557 | 12.2081 | 12.3673 | 12.3142 | 12.5618 | 12.6149 | 11.6774 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 40.74 | V
Isc (A) | 10.37 | 11.01 | 10.41 | 10.49 | 10.52 | 10.41 | 10.46 | 10.5 | 10.48 | 10.53 | 10.45 | 10.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 16.08 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
| S13: N/A; S14: N/A; S15: N/A; S16: N/A; S17: N/A; S18: N/A; S19: N/A; S20: N/A | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 2
SITE: | Kroonstad PnP |  |  | DATE: | 22/09/2025 |  |  | INVERTER 2
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 835.36 | 786.28 | 786.28 | 884.44 | 884.44 | 884.44 | 884.44 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Inverter 2 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
(1-7%) | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 776.8848 | 731.2404 | 731.2404 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No. | 18 | 18 | 18 | 18 | 18 | 17 | 16 | 16 | 18 | 18 | 18 | 18
(1+7%) | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 893.8352 | 841.3196 | 841.3196 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V) | 827 | 826 | 824 | 826 | 824 | 778 | 732 | 733 | 823 | 829 | 823 | 828
[21 empty] | Short Circuit Voltage (Vsc in V) | 676.88 | 675.88 | 673.88 | 675.88 | 673.88 | 636.22 | 598.56 | 599.56 | 672.88 | 678.88 | 672.88 | 677.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Insulation Resistance (mΩ) | 366 | 356 | 345 | 358 | 357 | 411 | 450 | 427 | 414 | 407 | 358 | 392
| Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W) | 636 | 644 | 633 | 644 | 641 | 634 | 598 | 590 | 592 | 617 | 635 | 632
| S13: N/A; S14: N/A; S15: N/A; S16: N/A; S17: N/A; S18: N/A; S19: N/A; S20: N/A | Isc (A) | 10.65 | 10.6 | 10.48 | 10.6 | 10.6 | 10.38 | 9.87 | 9.82 | 9.84 | 10.09 | 10.19 | 10.14
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | 11.2269 | 11.3555 | 11.1786 | 11.3555 | 11.3073 | 11.1947 | 10.6158 | 10.4872 | 10.5194 | 10.9214 | 11.2108 | 11.1626 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Vo | 49.08 | V | Jinko 620 BDV
(1-10%) | 10.1042 | 10.22 | 10.0608 | 10.22 | 10.1766 | 10.0752 | 9.5543 | 9.4385 | 9.4674 | 9.8292 | 10.0897 | 10.0463 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.25 | %/Degree C | Temperature coefficient
(1+10%) | 12.3496 | 12.4911 | 12.2965 | 12.4911 | 12.438 | 12.3142 | 11.6774 | 11.5359 | 11.5713 | 12.0135 | 12.3319 | 12.2788 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 40.74 | V
Isc (A) | 10.65 | 10.6 | 10.48 | 10.6 | 10.6 | 10.38 | 9.87 | 9.82 | 9.84 | 10.09 | 10.19 | 10.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 16.08 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
| S13: N/A; S14: N/A; S15: N/A; S16: N/A; S17: N/A; S18: N/A; S19: N/A; S20: N/A | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 3
SITE: | Kroonstad PnP |  |  | DATE: | 22/09/2025 |  |  | INVERTER 3
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | 884.44 | 884.44 | 884.44 | 884.44 | 884.44 | 786.28 | 786.28 | 786.28 | 786.28 | 786.28 | 786.28 | 786.28 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Inverter 3 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
(1-7%) | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 822.5292 | 731.2404 | 731.2404 | 731.2404 | 731.2404 | 731.2404 | 731.2404 | 731.2404 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No. | 18 | 18 | 18 | 18 | 18 | 16 | 16 | 16 | 16 | 16 | 16 | 16
(1+7%) | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 946.3508 | 841.3196 | 841.3196 | 841.3196 | 841.3196 | 841.3196 | 841.3196 | 841.3196 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V) | 824 | 825 | 825 | 825 | 824 | 733 | 739 | 738 | 737 | 737 | 738 | 739
[21 empty] | Short Circuit Voltage (Vsc in V) | 673.88 | 674.88 | 674.88 | 674.88 | 673.88 | 599.56 | 605.56 | 604.56 | 603.56 | 603.56 | 604.56 | 605.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Insulation Resistance (mΩ) | 345 | 375 | 399 | 346 | 356 | 405 | 454 | 401 | 392 | 402 | 377 | 415
| Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W) | 635 | 638 | 631 | 633 | 630 | 634 | 658 | 640 | 655 | 632 | 636 | 640
| S13: N/A; S14: N/A; S15: N/A; S16: N/A; S17: N/A; S18: N/A; S19: N/A; S20: N/A | Isc (A) | 10.28 | 10.18 | 10.34 | 10.45 | 10.53 | 10.27 | 11.12 | 10.3 | 10.49 | 10.79 | 10.84 | 11.05
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | 11.2108 | 11.259 | 11.1465 | 11.1786 | 11.1304 | 11.1947 | 11.5806 | 11.2912 | 11.5324 | 11.1626 | 11.2269 | 11.2912 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Vo | 49.08 | V | Jinko 620 BDV
(1-10%) | 10.0897 | 10.1331 | 10.0318 | 10.0608 | 10.0174 | 10.0752 | 10.4226 | 10.1621 | 10.3792 | 10.0463 | 10.1042 | 10.1621 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.25 | %/Degree C | Temperature coefficient
(1+10%) | 12.3319 | 12.3849 | 12.2611 | 12.2965 | 12.2434 | 12.3142 | 12.7387 | 12.4203 | 12.6856 | 12.2788 | 12.3496 | 12.4203 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 40.74 | V
Isc (A) | 10.28 | 10.18 | 10.34 | 10.45 | 10.53 | 10.27 | 11.12 | 10.3 | 10.49 | 10.79 | 10.84 | 11.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 16.08 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Passed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
| S13: N/A; S14: N/A; S15: N/A; S16: N/A; S17: N/A; S18: N/A; S19: N/A; S20: N/A | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 4
SITE: | Kroonstad PnP |  |  | DATE: |  |  |  | INVERTER 4
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | [20 empty] | Inverter 4 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | bar: S1 to S20
(1-7%) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No.
(1+7%) | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V)
[21 empty] | Short Circuit Voltage (Vsc in V) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insulation Resistance (mΩ)
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W)
Isc (A)
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | [20 empty] | Vo | 49.75 | V | JAM72S30 545/MR | bar: S1 to S20
(1-10%) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.275 | %/Degree C | Temperature coefficient
(1+10%) | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 41.8 | V
Isc (A) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 13.93 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
[21 empty] | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 5
SITE: | Kroonstad PnP |  |  | DATE: |  |  |  | INVERTER 5
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | [20 empty] | Inverter 5 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | bar: S1 to S20
(1-7%) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No.
(1+7%) | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V)
[21 empty] | Short Circuit Voltage (Vsc in V) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insulation Resistance (mΩ)
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W)
Isc (A)
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | [20 empty] | Vo | 49.75 | V | JAM72S30 545/MR | bar: S1 to S20
(1-10%) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.275 | %/Degree C | Temperature coefficient
(1+10%) | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 41.8 | V
Isc (A) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 13.93 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
[21 empty] | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 6
SITE: | Kroonstad PnP |  |  | DATE: |  |  |  | INVERTER 6
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | [20 empty] | Inverter 6 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | bar: S1 to S20
(1-7%) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No.
(1+7%) | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V)
[21 empty] | Short Circuit Voltage (Vsc in V) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insulation Resistance (mΩ)
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W)
Isc (A)
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | [20 empty] | Vo | 49.75 | V | JAM72S30 545/MR | bar: S1 to S20
(1-10%) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.275 | %/Degree C | Temperature coefficient
(1+10%) | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 41.8 | V
Isc (A) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 13.93 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
[21 empty] | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 7
SITE: | Kroonstad PnP |  |  | DATE: |  |  |  | INVERTER 7
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | [20 empty] | Inverter 7 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | bar: S1 to S20
(1-7%) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No.
(1+7%) | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V)
[21 empty] | Short Circuit Voltage (Vsc in V) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insulation Resistance (mΩ)
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W)
Isc (A)
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | [20 empty] | Vo | 49.75 | V | JAM72S30 545/MR | bar: S1 to S20
(1-10%) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.275 | %/Degree C | Temperature coefficient
(1+10%) | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 41.8 | V
Isc (A) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 13.93 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
[21 empty] | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 8
SITE: | Kroonstad PnP |  |  | DATE: |  |  |  | INVERTER 8
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | [20 empty] | Inverter 8 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | bar: S1 to S20
(1-7%) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No.
(1+7%) | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V)
[21 empty] | Short Circuit Voltage (Vsc in V) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insulation Resistance (mΩ)
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W)
Isc (A)
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | [20 empty] | Vo | 49.75 | V | JAM72S30 545/MR | bar: S1 to S20
(1-10%) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.275 | %/Degree C | Temperature coefficient
(1+10%) | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 41.8 | V
Isc (A) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 13.93 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
[21 empty] | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 9
SITE: | Kroonstad PnP |  |  | DATE: |  |  |  | INVERTER 9
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | [20 empty] | Inverter 9 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | bar: S1 to S20
(1-7%) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No.
(1+7%) | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V)
[21 empty] | Short Circuit Voltage (Vsc in V) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insulation Resistance (mΩ)
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W)
Isc (A)
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | [20 empty] | Vo | 49.75 | V | JAM72S30 545/MR | bar: S1 to S20
(1-10%) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.275 | %/Degree C | Temperature coefficient
(1+10%) | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 41.8 | V
Isc (A) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 13.93 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
[21 empty] | I_STC | 1000 | W/m^2 | Standard irradiation

## Inverter 10
SITE: | Kroonstad PnP |  |  | DATE: |  |  |  | INVERTER 10
Open Circuit volatge test
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20
V_theo | [20 empty] | Inverter 10 | S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | bar: S1 to S20
(1-7%) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | Module No.
(1+7%) | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | Open Circuit Voltage (Voc in V)
[21 empty] | Short Circuit Voltage (Vsc in V) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insulation Resistance (mΩ)
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Irradiance (W)
Isc (A)
[21 empty] | Cell Temp | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
| S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | Module Details
I_theo | [20 empty] | Vo | 49.75 | V | JAM72S30 545/MR | bar: S1 to S20
(1-10%) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CT | -0.275 | %/Degree C | Temperature coefficient
(1+10%) | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | Vsc | 41.8 | V
Isc (A) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Iscm | 13.93 | A | Nominal short circuit of pv modules from data sheet
[21 empty] | I | Table above | W/m^2 | Irradiation on on strings of tested panel
| Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | Failed | C_I | 0.045 | %/Degree C | Current Temp coefficient
[21 empty] | I_STC | 1000 | W/m^2 | Standard irradiation